Switch-Mode Power Supply for a Czochralski Crystal Growth System with following specifications:

- 3 DC Power Supply Modules:

  - 45V / 800A

  - 25V / 600A

  - 30V / 300A

- Cabinet-Type Enclosure

- Overcurrent and Short-Circuit Protections:

  - Main protection and individual protection for each module

  - Overtemperature protection for each module

- ProfiNET Interface

- Constant Current or Constant Voltage Control:

  - Adjustable in the 0–100% range

- Control Accuracy:

  - <1%

- Ripple:

  - <3% across the full range

- Mains Supply:

  - 3x400V, 50Hz, N+PE

- Air Cooling

- Maximum Dimensions:

  - 850 x 850 x 2050 mm + plinth

- Delivery Terms:

  - DAP 03-450 Warsaw, Ratuszowa 11

Zasilacz impulsowy do stanowiska do krystalizacji metodą Czochralskiego o następujących parametrach:

- 3 moduły zasilające DC:

  - 45V / 800A

  - 25V / 600A

  - 30V / 300A

- Obudowa w formie szafy

- Zabezpieczenia nadprądowe i zwarciowe:

  - Zabezpieczenie główne oraz indywidualne zabezpieczenia dla każdego z modułów

  - Zabezpieczenie przed nadmierną temperaturą każdego z modułów

- Interfejs ProfiNET

- Sterowanie prądowe lub napięciowe:

  - W zakresie 0–100%

- Dokładność sterowania:

  - <1%

- Tętnienia:

  - <3% w całym zakresie

- Zasilanie sieciowe:

  - 3x400V, 50Hz, N+PE

- Chłodzenie powietrzem

- Maksymalne wymiary:

  - 850 x 850 x 2050 mm + cokół

- Warunki dostawy:

  - DAP 03-450 Warszawa, ul. Ratuszowa 11